## Table 1
address | type | description | length | datatype
100 | U | Output Power phase L1 [%] | 1 | INT
101 | U | Output Power phase L2 [%] | 1 | INT
102 | U | Output Power phase L3 [%] | 1 | INT
103 | U | Battery Charge Level [%] | 1 | INT
104 | S | Input Voltage phase L1 [V] | 1 | INT
105 | S | Input Voltage phase L2 [V] | 1 | INT
106 | S | Input Voltage phase L3 [V] | 1 | INT
107 | S | UPS Temperature [C°] | 1 | INT
108 | S | Autonomy Time [minutes] | 1 | INT
109 | U | UPS Status | 1 | INT
110 | S | Battery Voltage [V] | 1 | INT
111 | U | Input Frequency phase L1 [Hz] | 1 | INT
112 | U | Input Frequency phase L2 [Hz] | 1 | INT
113 | U | Input Frequency phase L3 [Hz] | 1 | INT
114 | U | Powerfail Counter | 1 | INT
115 | U | Alarm Battery Bad 1 = active; 0 = not active) | 1 | BOOL
116 | U | Alarm: On Battery 1 = active; 0 = not active | 1 | BOOL
117 | U | Alarm: Battery Low 1 = active; 0 = not active | 1 | BOOL
119 | U | Alarm: Over temperature 1 = active; 0 = not active | 1 | BOOL
120 | U | Alarm: Input Bad 1 = active; 0 = not active | 1 | BOOL
121 | U | Alarm: Output Bad 1 = active; 0 = not active | 1 | BOOL
122 | U | Alarm: Output Overload 1 = active; 0 = not active | 1 | BOOL
123 | U | Alarm: On Bypass 1 = active; 0 = not active | 1 | BOOL
124 | U | Alarm: Bypass Bad 1 = active; 0 = not active | 1 | BOOL
125 | U | Alarm: Output Off as requested 1 = active; 0 = not active | 1 | BOOL
126 | U | Alarm: UPS Off as requested 1 = active; 0 = not active | 1 | BOOL
127 | U | Alarm: Charger Failed 1 = active; 0 = not active | 1 | BOOL
128 | U | Alarm: UPS Output Off 1 = active; 0 = not active | 1 | BOOL
129 | U | Alarm: UPS System Off 1 = active; 0 = not active | 1 | BOOL
132 | U | Alarm: General fault 1 = active; 0 = not active | 1 | BOOL
133 | U | Alarm: Diagnose test failed 1 = active; 0 = not active | 1 | BOOL
134 | U | Alarm: UPS Communication lost 1 = active; 0 = not active | 1 | BOOL
136 | U | Alarm: Shutdown pending 1 = active; 0 = not active | 1 | BOOL
137 | U | Alarm: shutdown imminent 1 = active; 0 = not active | 1 | BOOL
138 | U | Alarm: Test in progress 1 = active; 0 = not active | 1 | BOOL
139 | U | Alarm: Manual Bypass Switch Closed 1 = active; 0 = not active | 1 | BOOL
140 | U | Output Voltage phase L1 [V] | 1 | INT
141 | U | Output Voltage phase L2 [V] | 1 | INT
142 | U | Output Voltage phase L3 [V] | 1 | INT
143 | U | Output Current phase L1 [A*10] | 1 | INT
144 | U | Output Current phase L2 [A*10] | 1 | INT
145 | U | Output Current phase L3 [A*10] | 1 | INT

## Table 2
address | type | description | length | datatype
INT
INT
INT
INT
INT
INT
INT
INT
INT
|  | UPS Status |  | INT
INT
INT
INT
INT
INT
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
(1) available only in three-phase UPS (2) available only in Trimod HE, Archimod HE (3) available only in CS141, CS141 SK (4) not available in CS141B, CS141B SK |  |  |  | BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
INT
INT
INT
INT
INT
INT

## Table 3
address | type | description | length | datatype
INT
INT
INT
INT
INT
INT
INT
INT
INT
|  | UPS Status |  | INT
INT
INT
INT
INT
INT
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
13 |  |  |  | BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
BOOL
INT
INT
INT
INT
INT
INT